# Physics of Ultrasound – Course Outline

1. Introduction to Ultrasound Physics
• History and development of ultrasound imaging
• Nature and properties of sound waves:
  - Frequency
  - Wavelength
  - Amplitude
  - Propagation velocity
  - Energy
• Interaction of ultrasound with tissues:
  - Attenuation
  - Reflection
  - Refraction
  - Scattering
  - Absorption
• Acoustic impedance and Doppler effect and their significance
• Principles of continuous wave ultrasound
• Principles of pulse-echo imaging
• Clinical applications of ultrasound imaging

2. Ultrasound Transducers and Probe Technology
• Construction and components of ultrasound transducers
• Piezoelectric effect and crystal technology
• Types of ultrasound probes:
  - Linear array
  - Curvilinear
  - Phased array
  - Endocavitary probes
• Probe selection and clinical applications
• Common probe defects and troubleshooting

3. Ultrasound Equipment Construction and System Components
• Basic components of ultrasound systems
• Ultrasound machine architecture and housing
• Beam former, signal processing and imaging processing systems
• Receiver and display systems

4. Ultrasound Imaging Modes and Technology
• A-mode ultrasound
• Brightness mode (B-mode)
• Motion mode (M-mode)
• Doppler ultrasound principles:
  - Colour Doppler
  - Power Doppler
  - Spectral Doppler
• Harmonic imaging and image enhancement
• Machine controls (knobology):
  - Gain
  - Depth
  - Focus
  - Time Gain Compensation (TGC)
  - Dynamic range

5. Ultrasound Equipment Operation Procedures
• System start-up and shutdown procedures
• Patient data entry and examination setup
• Selection of probes and presets
• Image acquisition workflow
• Equipment handling during scanning
• Infection prevention and probe disinfection
• Safe use of ultrasound equipment

6. Ultrasound Artifacts and Image Quality
• Common ultrasound artifacts:
  - Reverberation artifacts
  - Propagation artifacts
  - Attenuation artifacts
  - Doppler artifacts
• Causes and corrections of artifacts
• Factors affecting imaging quality
• Image optimisation and diagnostic imaging

7. Equipment Care, Safety and Preventive Maintenance
• Care and handling of ultrasound equipment
• Protection from dust, pests, humidity and temperature extremes

8. Common Ultrasound Equipment Failures and Troubleshooting
• Common machine malfunctions
• Probe failures and cable defects
• Display and monitor faults
• Image distortion and signal loss
• Error identification and reporting
• Troubleshooting algorithms

9. Quality Assurance and Quality Control in Ultrasound
• Concepts of quality assurance and quality control
• Performance parameters of ultrasound systems
• Equipment performance testing:
  - Uniformity testing
  - Resolution testing
  - Dead zone testing
• Distance calibration
• Maximum depth testing
• Doppler performance evaluation
• Documentation and reporting of QC results

10. Image Acquisition, Storage, Transmission and PACS
• PACS (Picture Archiving and Communication Systems)
• Principles of digital image acquisition
• Image storage systems
• Image transmission and networking
• PACS architecture and applications
• Image retrieval and archiving
• Data protection and confidentiality
• Workflow integration in digital imaging departments
• Clinical documentation and reporting systems